## 2030 - TN-H2-G
After successful optimization
Test no. | Year | H2 scen | H2 pipe | H2 demand (TWh) | Freq | Nyears | H2 p_set | Capital cost |  | Efficiency |  | links_t.p0 values
[8 empty] | Electrolysis | H2 pipeline | Electrolysis | H2 pipeline | Electrolysis | H2 pipeline | Assumptions? | Remarks
31 | 2030 | TN-H2-G | short_fnb_2030 | 3.24 | 24 | 0.04 | series | high | low | 0.66 | 1 | yes | none | i) even lower capital cost & higher efficiency for H2 pipeline links, there are no links_t.p0 values for H2 pipelines ii) no requirement to utilize pipeline since operation of each electrolyzer to produce and meet H2 demand is sufficient already? Thus zero values for H2 pipeline links_t.p0? | p_nom_opt: Solar
32 | 2030 | TN-H2-G | short_fnb_2030 | 3.24 | 24 | 0.04 | series | 0 | high | 0.66 | 1 | yes | none |  | p_nom_opt: Solar
33 | 2030 | TN-H2-G | short_fnb_2030 | 3.24 | 24 | 0.04 | series | 0 | high | 1 | 1 | yes | none |  | p_nom_opt: Solar, Oil
34 | 2030 | TN-H2-G | short_fnb_2030 | 3.24 | 24 | 0.04 | series | 0 | 0 | 0.66 | 1 | yes | yes (very high) | when H2 pipeline capital cost is zero, then there are values for H2 pipeline links. why? | p_nom_opt: Solar, Oil
35 | 2030 | TN-H2-G | short_fnb_2030 | 3.24 | 24 | 0.04 | series | 0 | 0 | 1 | 1 | yes | yes (very high) |  | p_nom_opt: Solar, Oil
36 | 2030 | TN-H2-G | short_fnb_2030 | 3.24 | 24 | 0.04 | series | high | 0 | 0.66 | 1 | yes | yes (very high) |  | p_nom_opt: Solar
optimization successful

## 2040 - TN-H2-G
After successful optimization
Test no. | Year | H2 scen | H2 pipe | H2 demand (TWh) | Freq | Nyears | H2 p_set | Capital cost |  | Efficiency |  | links_t.p0 values
[8 empty] | Electrolysis | H2 pipeline | Electrolysis | H2 pipeline | Electrolysis | H2 pipeline | Assumptions | Remarks
| 2040 | TN-H2-G | short_fnb_2030 | 28.3 | 24 | 0.04 | series
| 2040 | TN-H2-G | short_fnb_2030 | 28.3 | 24 | 0.04 | series
| 2040 | TN-H2-G | short_fnb_2030 | 28.3 | 24 | 0.04 | series
| 2040 | TN-H2-G | short_fnb_2030 | 28.3 | 24 | 0.04 | series
| 2040 | TN-H2-G | short_fnb_2030 | 28.3 | 24 | 0.04 | series
optimization successful

## 2050 - TN-H2-G
After successful optimization
Test no. | Year | H2 scen | H2 pipe | H2 demand (TWh) | Freq | Nyears | H2 p_set | Capital cost |  | Efficiency |  | links_t.p0 values
[8 empty] | Electrolysis | H2 pipeline | Electrolysis | H2 pipeline | Electrolysis | H2 pipeline | Assumptions | Remarks
| 2050 | TN-H2-G | short_fnb_2030 | 78.59 | 24 | 0.04 | series
| 2050 | TN-H2-G | short_fnb_2030 | 78.59 | 24 | 0.04 | series
| 2050 | TN-H2-G | short_fnb_2030 | 78.59 | 24 | 0.04 | series
| 2050 | TN-H2-G | short_fnb_2030 | 78.59 | 24 | 0.04 | series
| 2050 | TN-H2-G | short_fnb_2030 | 78.59 | 24 | 0.04 | series
optimization successful