## Case 1
case | p_nom_extendable | loads_t.p_set | generators_t.p_max_pu | snapshots, freq | H2 scenario demand | H2 total prod constraint [TWh] | optimization solved in | gen p_nom_opt (capacity) [MW] | storage_unit p_nom_opt (capacity) [MW] | electrolysis p_nom_opt [MW] | store e_nom_opt [MWh] | remarks
1.1 | generators: TRUE storage_units: TRUE lines: TRUE transformers: TRUE electrolysis links: TRUE H2 store: TRUE | AC = 1000*random | solar: random values wind_on: random values wind_off: random values | 1 year (2030), 24h | TN-H2-G | 3.2371 | 74.73 sec | Solar = 1.24E+05 (150) | 0 | 11588.5552 | 2201234.43 | 1) Gen capacity is currently based on energy-charts.info website
1.2 | generators: TRUE storage_units: TRUE lines: TRUE transformers: TRUE electrolysis links: TRUE H2 store: TRUE | AC = 1000*random | solar: random values wind_on: random values wind_off: random values | 1 year (2040), 24h | TN-H2-G | 28.3 | 80.70 sec | Solar = 2.51E+05 (150) | 0 | 90795.7304 | 20374051.12 | 1) Gen capacity is currently based on energy-charts.info website
1.3 | generators: TRUE storage_units: TRUE lines: TRUE transformers: TRUE electrolysis links: TRUE H2 store: TRUE | AC = 1000*random | solar: random values wind_on: random values wind_off: random values | 1 year (2050), 24h | TN-H2-G | 78.59 | 119.63 sec | Solar = 5.26E+05 (150) | 0 | 242872.0994 | 58942686.64 | 1) Gen capacity is currently based on energy-charts.info website
1.4 | generators: FALSE storage_units: FALSE lines: TRUE transformers: TRUE electrolysis links: TRUE H2 store: TRUE | AC = 1000*random | solar: random values wind_on: random values wind_off: random values | 1 year (2030), 24h | TN-H2-G | 3.2371 | [5 empty] | WARNING:pypsa.linopf:Optimization failed with status warning and termination condition infeasible or unbounded
1.5 | generators: TRUE storage_units: TRUE lines: TRUE transformers: TRUE electrolysis links: TRUE H2 store: TRUE | AC = 1000*random | solar: random values wind_on: random values wind_off: random values | 1 year (2030), 24h | TN-PtG-PtL | 0.008 | 43.08 sec | Solar = 1.29E+05 (150) Oil = 2.59E+02 (701.8) | 0 | 24.2222 | 5635.26 | 1) Gen capacity is currently based on energy-charts.info website 2) Why not utilize only Solar? Why Oil suddenly generates? Because of lower H2 demand?
1.6 | generators: TRUE storage_units: TRUE lines: TRUE transformers: TRUE electrolysis links: TRUE H2 store: TRUE | AC = 1000*random | solar: random values wind_on: random values wind_off: random values | 1 year (2040), 24h | TN-PtG-PtL | 7.53 | 98.10 sec | Solar = 1.41E+05 (150) | 0 | 28173.7553 | 5425020.76 | 1) Gen capacity is currently based on energy-charts.info website
1.7 | generators: TRUE storage_units: TRUE lines: TRUE transformers: TRUE electrolysis links: TRUE H2 store: TRUE | AC = 1000*random | solar: random values wind_on: random values wind_off: random values | 1 year (2050), 24h | TN-PtG-PtL | 13.89 | 107.96 sec | Solar = 1.75E+05 (150) | 0 | 48110.0529 | 10413783.74 | 1) Gen capacity is currently based on energy-charts.info website

## Case 2
case | p_nom_extendable | loads_t.p_set (AC) | generators_t.p_max_pu | snapshots, freq | H2 scenario demand | loads.p_set (H2) | optimization solved in | gen p_nom_opt (capacity) [MW] | storage_unit p_nom_opt (capacity) [MW] | electrolysis p_nom_opt [MW] | store e_nom_opt [MWh] | remarks
2.1 | generators: TRUE storage_units: TRUE lines: TRUE transformers: TRUE electrolysis links: TRUE H2 store: TRUE | AC = 1000*random | solar: random values wind_on: random values wind_off: random values | 1 year (2030), 24h | TN-H2-G | 1) Total = 3.24 TWh 2) Each H2 bus has its own load/demand value | 524.05 sec | Solar = 9.89E+06 (150) | 0 | 5160158.9519 | 6996553.61 | 1) Gen capacity is currently based on energy-charts.info website 2) Highest H2 electrolysis p_nom_opt: KarlsruheWest_110kV_Electrolysis = 1.232190e+06 MW 3) Highest H2 load: KarlsruheWest_110kV_H2_Load
2.2 | generators: TRUE storage_units: TRUE lines: TRUE transformers: TRUE electrolysis links: TRUE H2 store: TRUE | AC = 1000*random | solar: random values wind_on: random values wind_off: random values | 1 year (2040), 24h | TN-H2-G | 1) Total = 3.24 TWh 2) Each H2 bus has its own load/demand value | 606.13 sec | Solar = 7.88E+07 (150) | 0 | 43528465.4915 | 66864735.69 | 1) Gen capacity is currently based on energy-charts.info website 2) Highest H2 electrolysis p_nom_opt: KarlsruheWest_110kV_Electrolysis = 9.823006e+06 MW 3) Highest H2 load: KarlsruheWest_110kV_H2_Load
2.3 | generators: TRUE storage_units: TRUE lines: TRUE transformers: TRUE electrolysis links: TRUE H2 store: TRUE | AC = 1000*random | solar: random values wind_on: random values wind_off: random values | 1 year (2050), 24h | TN-H2-G | 1) Total = 3.24 TWh 2) Each H2 bus has its own load/demand value | [5 empty] | 1) Gen capacity is currently based on energy-charts.info website 2) Highest H2 electrolysis p_nom_opt: KarlsruheWest_110kV_Electrolysis = MW 3) Highest H2 load: KarlsruheWest_110kV_H2_Load
2.4 | generators: FALSE storage_units: FALSE lines: TRUE transformers: TRUE electrolysis links: TRUE H2 store: TRUE | AC = 1000*random | solar: random values wind_on: random values wind_off: random values | 1 year (2030), 24h | TN-H2-G | 1) Total = 3.24 TWh 2) Each H2 bus has its own load/demand value
78805572.82

## Case 3
case | p_nom_extendable | loads_t.p_set (AC) | generators_t.p_max_pu | snapshots, freq | H2 scenario demand | H2 pipeline config | loads.p_set (H2) | optimization solved in | gen p_nom_opt (capacity) [MW] | storage_unit p_nom_opt (capacity) [MW] | electrolysis p_nom_opt [MW] | store e_nom_opt [MWh] | remarks
3.1 | generators: TRUE storage_units: TRUE lines: TRUE transformers: TRUE electrolysis links: TRUE H2 store: TRUE H2 pipelines: TRUE | AC = 1000*random | solar: random values wind_on: random values wind_off: random values | 1 year (2030), 24h | TN-H2-G |  | 1) Total = 3.24 TWh 2) Each H2 bus has its own load/demand value | 492.88 sec |  |  |  |  | 1) Gen capacity is currently based on energy-charts.info website 2) Highest H2 electrolysis p_nom_opt: 3) Highest H2 load:
3.2 | generators: TRUE storage_units: TRUE lines: TRUE transformers: TRUE electrolysis links: TRUE H2 store: TRUE H2 pipelines: TRUE | AC = 1000*random | solar: random values wind_on: random values wind_off: random values | 1 year (2040), 24h | TN-H2-G |  | 1) Total = 3.24 TWh 2) Each H2 bus has its own load/demand value | [5 empty] | 1) Gen capacity is currently based on energy-charts.info website 2) Highest H2 electrolysis p_nom_opt: 3) Highest H2 load:
3.3 | generators: TRUE storage_units: TRUE lines: TRUE transformers: TRUE electrolysis links: TRUE H2 store: TRUE H2 pipelines: TRUE | AC = 1000*random | solar: random values wind_on: random values wind_off: random values | 1 year (2050), 24h | TN-H2-G | short' | 1) Total = 3.24 TWh 2) Each H2 bus has its own load/demand value | [5 empty] | 1) Gen capacity is currently based on energy-charts.info website 2) Highest H2 electrolysis p_nom_opt: 3) Highest H2 load:
78805572.82