## Case 1
| p_nom_extendable components | [6 empty] | generators_t.p_max_pu
case | generators | stor_units | lines | transformers | electrolysis | H2 store | loads_t.p_set | solar | wind_on | wind_off | snapshots, freq | H2 scenario demand | H2 total prod constraint [TWh] | optimization solved in | gen p_nom_opt (capacity) [MW] | storage_unit p_nom_opt (capacity) [MW] | electrolysis p_nom_opt [MW] | H2 store e_nom_opt [MWh] | remarks
1.1 | TRUE | TRUE: Pumped_Storage | TRUE | TRUE | TRUE | TRUE | AC = 1000*random | random values | random values | random values | 1 year (2030), 24h | TN-H2-G | 3.2371 | 69.93 sec | Solar = 1.26E+05 (150) | 0 | 10930.65 | 2136492.24 | 1) Gen capacity is currently based on energy-charts.info website and the same for 2030,2040, 2050 (no reliable data yet for capacity Gen for year 2040, 2050)
1.2 | TRUE | TRUE: Pumped_Storage | TRUE | TRUE | TRUE | TRUE | AC = 1000*random | random values | random values | random values | 1 year (2040), 24h | TN-H2-G | 28.3 | 69.39 sec | Solar = 2.59E+05 (150) | 0 | 86006.35 | 19242159.39 | 1) All p_nom_opt increases as H2 demand increases
1.3 | TRUE | TRUE: Pumped_Storage | TRUE | TRUE | TRUE | TRUE | AC = 1000*random | random values | random values | random values | 1 year (2050), 24h | TN-H2-G | 78.59 | 67.56 sec | Solar = 5.43E+05 (150) | 0 | 234353.27 | 55799076.69 | 1) All p_nom_opt increases as H2 demand increases
1.4 | TRUE: Solar, Wind, Run_of_River FALSE: Oil, CCGT, Coal | TRUE: Pumped_Storage | TRUE | TRUE | TRUE | TRUE | AC = 1000*random | random values | random values | random values | 1 year (2030), 24h | TN-H2-G | 3.2371 | 49.65 sec | Solar = 1.23E+05 (150) Coal = 5.96E+03 (5.96E+03) CCGT = 1.20E+03 (1.20E+03) Oil = 7.01E+02 (7.01E+02) | 0 | 11186.44 | 2136492.24 | 1) Generation type is based on from the cheapest marginal costs (Solar) followed by higher marginal costs (in the order of Coal, CCGT, Oil)
1.5 | TRUE: Solar, Wind, Run_of_River FALSE: Oil, CCGT, Coal | TRUE: Pumped_Storage | TRUE | TRUE | TRUE | TRUE | AC = 1000*random | random values | random values | random values | 1 year (2040), 24h | TN-H2-G | 28.3 | 68.59 sec | Solar = 2.57E+05 (150) Coal = 5.96E+03 (5.96E+03) CCGT = 1.20E+03 (1.20E+03) Oil = 7.01E+02 (7.01E+02) | 0 | 86757.06 | 19242159.39 | 1) Generation type is based on from the cheapest marginal costs (Solar) followed by higher marginal costs (in the order of Coal, CCGT, Oil) 2) As H2 demand increases, only p_nom_opt of Solar increases compared to 2030 3) Why not utilize other generation types also? RoR, Bio, Wind_On, Pumped_Storage?
1.6 | TRUE: Solar, Wind, Run_of_River FALSE: Oil, CCGT, Coal | TRUE: Pumped_Storage | TRUE | TRUE | TRUE | TRUE | AC = 1000*random | random values | random values | random values | 1 year (2050), 24h | TN-H2-G | 78.59 | 89.76 sec | Solar = 5.40E+05 (150) Coal = 5.96E+03 (5.96E+03) CCGT = 1.20E+03 (1.20E+03) Oil = 7.01E+02 (7.01E+02) | 0 | 233921.47 | 55799076.69 | 1) Generation type is based on from the cheapest marginal costs (Solar) followed by higher marginal costs (in the order of Coal, CCGT, Oil) 2) As H2 demand increases, only p_nom_opt of Solar increases compared to 2030, 2040 3) Why not utilize other generation types also? RoR, Bio, Wind_On, Pumped_Storage?
1.7 | TRUE | TRUE: Pumped_Storage | TRUE | TRUE | TRUE | TRUE | AC = 1000*random | random values | random values | random values | 1 year (2030), 24h | TN-PtG-PtL | 0.008 | 36.29 sec | Solar = 1.31E+05 (150) Oil = 1.85E+02 (7.01E+02) | 0 | 24.16 | 5469.52 | 1) TN-PtG-PtL scenario have lower H2 demand compared to TN-H2-G, thus lower p_nom_opt for Gen, Electrolysis and H2 store 2) Why not utilize only Solar? Why Oil suddenly generates? Because of lower H2 demand? Oil has the highest marginal cost but lowest capital cost
1.8 | TRUE | TRUE: Pumped_Storage | TRUE | TRUE | TRUE | TRUE | AC = 1000*random | random values | random values | random values | 1 year (2040), 24h | TN-PtG-PtL | 7.53 | 85.31 sec | Solar = 1.44E+05 (150) | 0 | 24849.83 | 5123630.71 | 1) As H2 demand increase in 2040, only Solar generates instead of Solar+Oil in 2030
1.9 | TRUE | TRUE: Pumped_Storage | TRUE | TRUE | TRUE | TRUE | AC = 1000*random | random values | random values | random values | 1 year (2050), 24h | TN-PtG-PtL | 13.89 | 69.44 sec | Solar = 1.77E+05 (150) | 0 | 43601.03 | 9858381.94 | 1) All p_nom_opt increases as H2 demand increases
1.1 | TRUE: Solar, Wind, Run_of_River FALSE: Oil, CCGT, Coal | TRUE: Pumped_Storage | TRUE | TRUE | TRUE | TRUE | AC = 1000*random | random values | random values | random values | 1 year (2030), 24h | TN-PtG-PtL | 0.008 | 28.56 sec | Solar = 1.23E+05 (150) Coal = 5.96E+03 (5.96E+03) CCGT = 1.20E+03 (1.20E+03) Oil = 7.01E+02 (7.01E+02) | 0 | 24.09 | 5469.52 | 1) Generation type is based on from the cheapest marginal costs (Solar) followed by higher marginal costs (in the order of Coal, CCGT, Oil) 2) Gen p_nom_opt values similar to Case 1.4 3) Lower electrolysis and H2 store p_nom_opt / e_nom_opt, due to lower H2 demand
1.11 | TRUE: Solar, Wind, Run_of_River FALSE: Oil, CCGT, Coal | TRUE: Pumped_Storage | TRUE | TRUE | TRUE | TRUE | AC = 1000*random | random values | random values | random values | 1 year (2040), 24h | TN-PtG-PtL | 7.53 | 73.90 sec | Solar = 1.46E+05 (150) Coal = 5.96E+03 (5.96E+03) CCGT = 1.20E+03 (1.20E+03) Oil = 7.01E+02 (7.01E+02) | 0 | 25467.33 | 5123630.71 | 1) Similar to Case 1.6
1.12 | TRUE: Solar, Wind, Run_of_River FALSE: Oil, CCGT, Coal | TRUE: Pumped_Storage | TRUE | TRUE | TRUE | TRUE | AC = 1000*random | random values | random values | random values | 1 year (2050), 24h | TN-PtG-PtL | 13.89 | 67.44 sec | Solar = 1.76E+05 (150) Coal = 5.96E+03 (5.96E+03) CCGT = 1.20E+03 (1.20E+03) Oil = 7.01E+02 (7.01E+02) | 0 | 43860.24 | 9858381.94 | 1) Similar to Case 1.7
1.13 | FALSE | FALSE | TRUE | TRUE | TRUE | TRUE | AC = 1000*random | random values | random values | random values | 1 year (2030), 24h | TN-H2-G | 3.2371 | [5 empty] | 1) WARNING:pypsa.linopf:Optimization failed with status warning and termination condition infeasible or unbounded 2) At least one of the Gen (e.g. Solar) p_nom_extendable is TRUE, then optimal objective can be achieved. If all Gen p_nom_extendable are FALSE and even only Pumped Storage is TRUE, still, optimization will fail. 3) Current Gen capacity insufficient to meet both AC / H2 demand?
1.14 | FALSE | FALSE | TRUE | TRUE | TRUE | TRUE | AC = 100*random | random values | random values | random values | 1 year (2030), 24h | none | none | 9.6 sec | p_nom_opt for each Gen type reaches its maximum capacity |  |  |  | 1) All generators are being utilized and optimized to meet the AC loads demand
1.15 | FALSE | FALSE | TRUE | TRUE | TRUE | TRUE | AC = 10*random | random values | random values | random values | 1 year (2030), 24h | none | none | 12 sec | p_nom_opt for each Gen type reaches its maximum capacity |  |  |  | 1) All generators are being utilized and optimized to meet the AC loads demand
1.16 | FALSE | FALSE | TRUE | TRUE | TRUE | TRUE | AC = 100*random | random values | random values | random values | 1 year (2030), 24h | none | none | [5 empty] | 1) WARNING:pypsa.linopf:Optimization failed with status warning and termination condition infeasible or unbounded 2) Current Gen capacity insufficient to meet both AC / H2 demand?
1.17 | FALSE | FALSE | TRUE | TRUE | TRUE | TRUE | AC = 100*random | random values | random values | random values | 1 year (2030), 24h | TN-H2-G | 3.2371 | [5 empty] | 1) WARNING:pypsa.linopf:Optimization failed with status warning and termination condition infeasible or unbounded 2) Current Gen capacity insufficient to meet both AC / H2 demand?
176473.52
INFO:pypsa.linopf:Optimization successful.
1) WARNING:pypsa.linopf:Optimization failed with status warning and termination condition infeasible or unbounded

## Case 2
| p_nom_extendable components | [6 empty] | generators_t.p_max_pu
case | generators | stor_units | lines | transformers | electrolysis | H2 store | loads_t.p_set | solar | wind_on | wind_off | snapshots, freq | H2 scenario demand | H2 total demand [TWh] | optimization solved in | gen p_nom_opt (capacity) [MW] | storage_unit p_nom_opt (capacity) [MW] | H2 load [MW] | electrolysis p_nom_opt [MW] | H2 store e_nom_opt [MWh] | remarks
2.1 | TRUE | TRUE: Pumped_Storage | TRUE | TRUE | TRUE | TRUE | AC = 1000*random H2 = Fraunhofer data | random values | random values | random values | 1 year (2030), 24h | TN-H2-G | 3.2371 | 7.5 mins | Solar = 1.33E+05 | 0 | KarlsruheWest_110kV_H2_Bus = 8.31E+05 | 1) KarlsruheWest_110kV_H2_Bus = 3.88E+03 2) Sum = 1.64E+04 | 1) KarlsruheWest_110kV_H2_Store = 5.63E+03 2) Sum = 5.61E+04 | 1) Gen capacity is currently based on energy-charts.info website and the same for 2030,2040, 2050 (no reliable data yet for capacity Gen for year 2040, 2050) 2) KarlsruheWest bus: Highest H2 demand, electrolysis p_nom_opt, H2 store e_nom_opt
2.2 | TRUE | TRUE: Pumped_Storage | TRUE | TRUE | TRUE | TRUE | AC = 1000*random H2 = Fraunhofer data | random values | random values | random values | 1 year (2040), 24h | TN-H2-G | 28.3 | 7.5 mins | Solar = 3.34E+05 | 0 | KarlsruheWest_110kV_H2_Bus = 6.98E+06 | 1) KarlsruheWest_110kV_H2_Bus = 2.84E+04 2) Sum = 1.25E+05 | 1) Weier_110kV_H2_Store = 1.21E+04 2) Sum = 1.93E+05 | 1) Weier_110kV_H2_Store highest e_nom_opt, not KarlsruheWest, why? 2) Electrolysis and H2 store p_nom_opt / e_nom_opt increases as H2 demand increases
2.3 | TRUE | TRUE: Pumped_Storage | TRUE | TRUE | TRUE | TRUE | AC = 1000*random H2 = Fraunhofer data | random values | random values | random values | 1 year (2050), 24h | TN-H2-G | 78.59 | 8.1 mins | Solar = 7.28E+05 | 0 | KarlsruheWest_110kV_H2_Bus = 2.01E+07 | 1) KarlsruheWest_110kV_H2_Bus = 7.82E+04 2) Sum = 3.27E+05 | 1) Rheinau_110kV_H2_Store = 2.43E+04 2) Sum = 5.27E+05 | 1) Rheinau_110kV_H2_Store highest e_nom_opt, not KarlsruheWest, why? 2) Electrolysis and H2 store p_nom_opt / e_nom_opt increases as H2 demand increases
2.4 | TRUE: Solar, Wind, Run_of_River FALSE: Oil, CCGT, Coal | TRUE: Pumped_Storage | TRUE | TRUE | TRUE | TRUE | AC = 1000*random H2 = Fraunhofer data | random values | random values | random values | 1 year (2030), 24h | TN-H2-G | 3.2371 | 6 mins | Solar = 1.36E+05 (150) Coal = 5.96E+03 (5.96E+03) CCGT = 1.20E+03 (1.20E+03) Oil = 7.01E+02 (7.01E+02) | 0 | KarlsruheWest_110kV_H2_Bus = 8.31E+05 | 1) KarlsruheWest_110kV_H2_Bus = 3.85E+03 2) Sum = 1.56E+04 | 1) KarlsruheWest_110kV_H2_Store = 9.34E+03 2) Sum = 4.55E+04 | 1) Similar to Case 1.4 - Generation type is based on from the cheapest marginal costs (Solar) followed by higher marginal costs (in the order of Coal, CCGT, Oil) 2) KarlsruheWest bus: Highest H2 demand, electrolysis p_nom_opt, H2 store e_nom_opt
2.5 | TRUE: Solar, Wind, Run_of_River FALSE: Oil, CCGT, Coal | TRUE: Pumped_Storage | TRUE | TRUE | TRUE | TRUE | AC = 1000*random H2 = Fraunhofer data | random values | random values | random values | 1 year (2040), 24h | TN-H2-G | 28.3 | 8 mins | Solar = 3.33E+05 (150) Coal = 5.96E+03 (5.96E+03) CCGT = 1.20E+03 (1.20E+03) Oil = 7.01E+02 (7.01E+02) | 0 | KarlsruheWest_110kV_H2_Bus = 6.98E+06 | 1) KarlsruheWest_110kV_H2_Bus = 2.86E+04 2) Sum = 1.25E+05 | 1) KarlsruheWest_110kV_H2_Store = 2.10E+04 2) Sum = 2.33E+05 | 1) Similar remarks to Case 1.5 2) KarlsruheWest bus: Highest H2 demand, electrolysis p_nom_opt, H2 store e_nom_opt
2.6 | TRUE: Solar, Wind, Run_of_River FALSE: Oil, CCGT, Coal | TRUE: Pumped_Storage | TRUE | TRUE | TRUE | TRUE | AC = 1000*random H2 = Fraunhofer data | random values | random values | random values | 1 year (2050), 24h | TN-H2-G | 78.59 | 9.7 mins | Solar = 7.31E+05 (150) Coal = 5.96E+03 (5.96E+03) CCGT = 1.20E+03 (1.20E+03) Oil = 7.01E+02 (7.01E+02) | 0 | KarlsruheWest_110kV_H2_Bus = 2.01E+07 | 1) KarlsruheWest_110kV_H2_Bus = 7.84E+04 2) Sum = 3.26E+05 | 1) Schmiechen_110kV_H2_Store = 2.49E+04 2) Sum = 6.13E+05 | 1) Similar remarks to Case 1.6 2) Rheinau_110kV_H2_Store highest e_nom_opt, not KarlsruheWest, why?
2.7 | FALSE | FALSE | TRUE | TRUE | TRUE | TRUE | AC = 1000*random H2 = Fraunhofer data | random values | random values | random values | 1 year (2030), 24h | TN-H2-G | 3.2371 | [6 empty] | 1) WARNING:pypsa.linopf:Optimization failed with status warning and termination condition infeasible or unbounded 2) At least one of the Gen (e.g. Solar) p_nom_extendable is TRUE, then optimal objective can be achieved. If all Gen p_nom_extendable are FALSE and even only Pumped Storage is TRUE, still, optimization will fail. 3) Current Gen capacity insufficient to meet both AC / H2 demand?
2.8 | FALSE | FALSE | TRUE | TRUE | TRUE | TRUE | AC = random H2 = Fraunhofer data | random values | random values | random values | 1 year (2030), 24h | TN-H2-G | 3.2371 | [6 empty] | 1) WARNING:pypsa.linopf:Optimization failed with status warning and termination condition infeasible or unbounded 2) Current Gen capacity insufficient to meet both AC / H2 demand?
56090.81
INFO:pypsa.linopf:Optimization successful.
1) WARNING:pypsa.linopf:Optimization failed with status warning and termination condition infeasible or unbounded

## Case 3
| p_nom_extendable components | [7 empty] | generators_t.p_max_pu
case | generators | stor_units | lines | transformers | electrolysis | H2 store | H2 pipes | loads_t.p_set | solar | wind_on | wind_off | snapshots, freq | H2 scenario demand | H2 total demand [TWh] | H2 pipe config | optimization solved in | gen p_nom_opt (capacity) [MW] | storage_unit p_nom_opt (capacity) [MW] | H2 load [MW] | electrolysis p_nom_opt [MW] | H2 store e_nom_opt [MWh] | H2 pipes p_nom_opt [MW] | remarks
3.1 | TRUE | TRUE: Pumped_Storage | TRUE | TRUE | TRUE | TRUE | TRUE | AC = 1000*random H2 = Fraunhofer data | random values | random values | random values | 1 year (2030), 24h | TN-H2-G | 3.2371 | short_fnb_2030 | 6.4 mins | Solar = 1.31E+05 | 0 | KarlsruheWest_110kV_H2_Bus = 8.31E+05 | 1) KarlsruheWest_110kV_H2_Bus = 4.03E+03 2) Sum = 1.66E+04 | 1) KarlsruheWest_110kV_H2_Store = 6.71E+03 2) Sum = 5.11E+04 | 0 | 1) Gen capacity is currently based on energy-charts.info website and the same for 2030,2040, 2050 (no reliable data yet for capacity Gen for year 2040, 2050) 2) KarlsruheWest bus: Highest H2 demand, electrolysis p_nom_opt, H2 store e_nom_opt 3) Zero values for H2 pipes - analysed in separate sheet
3.2 | TRUE | TRUE: Pumped_Storage | TRUE | TRUE | TRUE | TRUE | TRUE | AC = 1000*random H2 = Fraunhofer data | random values | random values | random values | 1 year (2040), 24h | TN-H2-G | 28.3 | short_fnb_2030 | 9.3 mins | Solar = 3.33E+05 | 0 | KarlsruheWest_110kV_H2_Bus = 6.98E+06 | 1) KarlsruheWest_110kV_H2_Bus = 2.85E+04 2) Sum = 1.25E+05 | 1) Eichstetten_110kV_H2_Store = 1.75E+04 2) Sum = 2.58E+05 | 0 | 1) Eichstetten_110kV_H2_Store highest e_nom_opt, not KarlsruheWest, why? 2) Electrolysis and H2 store p_nom_opt / e_nom_opt increases as H2 demand increases
3.3 (1) | TRUE | TRUE: Pumped_Storage | TRUE | TRUE | TRUE | TRUE | TRUE | AC = 1000*random H2 = Fraunhofer data | random values | random values | random values | 1 year (2050), 24h | TN-H2-G | 78.59 | short_fnb_2030 | 41 mins | Solar = 7.21E+05 | 0 | KarlsruheWest_110kV_H2_Bus = 2.01E+07 | 1) KarlsruheWest_110kV_H2_Bus = 7.76E+04 2) Sum = 3.26E+05 | 1) Rheinau_110kV_H2_Store = 5.03E+04 2) Sum = 4.21E+05 | 0 | 1) Some H2 stores have -ve e_nom_opt, why? Hard to tell, maybe because some components still use random values? 2) Rheinau_110kV_H2_Store highest e_nom_opt, not KarlsruheWest, why? 3) Electrolysis and H2 store p_nom_opt / e_nom_opt increases as H2 demand increases
3.3 (2) | TRUE | TRUE: Pumped_Storage | TRUE | TRUE | TRUE | TRUE | TRUE | AC = 1000*random H2 = Fraunhofer data | random values | random values | random values | 1 year (2050), 24h | TN-H2-G | 78.59 | short_fnb_2030 | 9.7 mins | Solar = 7.17E+05 | 0 | KarlsruheWest_110kV_H2_Bus = 2.01E+07 | 1) KarlsruheWest_110kV_H2_Bus = 7.82E+04 2) Sum = 3.25E+05 | 1) Winnenden_110kV_H2_Store = 2.80E+04 2) Sum = 5.83E+05 | 0 | 1) Winnenden_110kV_H2_Store highest e_nom_opt, not KarlsruheWest, why? 2) Electrolysis and H2 store p_nom_opt / e_nom_opt increases as H2 demand increases
3.4 | TRUE: Solar, Wind, Run_of_River FALSE: Oil, CCGT, Coal | TRUE: Pumped_Storage | TRUE | TRUE | TRUE | TRUE | TRUE | AC = 1000*random H2 = Fraunhofer data | random values | random values | random values | 1 year (2030), 24h | TN-H2-G | 3.2371 | short_fnb_2030 | 6.9 mins | Solar = 1.30E+05 (150) Coal = 5.96E+03 (5.96E+03) CCGT = 1.20E+03 (1.20E+03) Oil = 7.01E+02 (7.01E+02) | 0 | KarlsruheWest_110kV_H2_Bus = 8.31E+05 | 1) KarlsruheWest_110kV_H2_Bus = 3.89E+03 2) Sum = 1.66E+04 | 1) KarlsruheWest_110kV_H2_Store = 6.42E+03 2) Sum = 7.20E+04 | 0 | 1) Similar to Case 2.4 - Generation type is based on from the cheapest marginal costs (Solar) followed by higher marginal costs (in the order of Coal, CCGT, Oil) 2) KarlsruheWest bus: Highest H2 demand, electrolysis p_nom_opt, H2 store e_nom_opt
3.5 | TRUE: Solar, Wind, Run_of_River FALSE: Oil, CCGT, Coal | TRUE: Pumped_Storage | TRUE | TRUE | TRUE | TRUE | TRUE | AC = 1000*random H2 = Fraunhofer data | random values | random values | random values | 1 year (2040), 24h | TN-H2-G | 28.3 | short_fnb_2030 | 8.8 mins | Solar = 3.37E+05 (150) Coal = 5.96E+03 (5.96E+03) CCGT = 1.20E+03 (1.20E+03) Oil = 7.01E+02 (7.01E+02) | 0 | KarlsruheWest_110kV_H2_Bus = 6.98E+06 | 1) KarlsruheWest_110kV_H2_Bus = 2.86E+04 2) Sum = 1.26E+05 | 1)Ravensburg_110kV_H2_Store = 9.82E+03 2) Sum = 1.54E+05 | 0 | 1) Similar remarks to Case 2.5 2) Ravensburg_110kV_H2_Store highest e_nom_opt, not KarlsruheWest, why? 3) Electrolysis and H2 store p_nom_opt / e_nom_opt increases as H2 demand increases
3.6 (1) | TRUE: Solar, Wind, Run_of_River FALSE: Oil, CCGT, Coal | TRUE: Pumped_Storage | TRUE | TRUE | TRUE | TRUE | TRUE | AC = 1000*random H2 = Fraunhofer data | random values | random values | random values | 1 year (2050), 24h | TN-H2-G | 78.59 | short_fnb_2030 | 37 mins | Solar = 7.14E+05 (150) Coal = 5.96E+03 (5.96E+03) CCGT = 1.20E+03 (1.20E+03) Oil = 7.01E+02 (7.01E+02) | 0 | KarlsruheWest_110kV_H2_Bus = 2.01E+07 | 1) KarlsruheWest_110kV_H2_Bus = 7.83E+04 2) Sum = 3.25E+05 | 1) Rheinau_110kV_H2_Store = 1.38E+05 2) Sum = 6.59E+05 | 0 | 1) Some H2 stores have -ve e_nom_opt, why? Hard to tell, maybe because some components still use random values? 2) Rheinau_110kV_H2_Store highest e_nom_opt, not KarlsruheWest, why? 3) Electrolysis and H2 store p_nom_opt / e_nom_opt increases as H2 demand increases
3.6 (2) | TRUE: Solar, Wind, Run_of_River FALSE: Oil, CCGT, Coal | TRUE: Pumped_Storage | TRUE | TRUE | TRUE | TRUE | TRUE | AC = 1000*random H2 = Fraunhofer data | random values | random values | random values | 1 year (2050), 24h | TN-H2-G | 78.59 | short_fnb_2030 | 9.8 mins | Solar = 7.17E+05 (150) Coal = 5.96E+03 (5.96E+03) CCGT = 1.20E+03 (1.20E+03) Oil = 7.01E+02 (7.01E+02) | 0 | KarlsruheWest_110kV_H2_Bus = 2.01E+07 | 1) KarlsruheWest_110kV_H2_Bus = 7.81E+04 2) Sum = 3.24E+05 | 1) Schmiechen_110kV_H2_Store = 1.80E+04 2) Sum = 3.67E+05 | 0 | 1) Similar remarks to Case 2.6 2) Schmiechen_110kV_H2_Store highest e_nom_opt, not KarlsruheWest, why? 3) Electrolysis and H2 store p_nom_opt / e_nom_opt increases as H2 demand increases
3.7 | FALSE | FALSE | TRUE | TRUE | TRUE | TRUE | TRUE | AC = 1000*random H2 = Fraunhofer data | random values | random values | random values | 1 year (2030), 24h | TN-H2-G | 3.2371 | [8 empty] | 1) WARNING:pypsa.linopf:Optimization failed with status warning and termination condition infeasible or unbounded 2) At least one of the Gen (e.g. Solar) p_nom_extendable is TRUE, then optimal objective can be achieved. If all Gen p_nom_extendable are FALSE and even only Pumped Storage is TRUE, still, optimization will fail. 3) Current Gen capacity insufficient to meet both AC / H2 demand?
3.8 | FALSE | FALSE | TRUE | TRUE | TRUE | TRUE | TRUE | AC = random H2 = Fraunhofer data | random values | random values | random values | 1 year (2030), 24h | TN-H2-G | 3.2371 | [8 empty] | 1) WARNING:pypsa.linopf:Optimization failed with status warning and termination condition infeasible or unbounded 2) Current Gen capacity insufficient to meet both AC / H2 demand?
56090.81
INFO:pypsa.linopf:Optimization successful.
1) WARNING:pypsa.linopf:Optimization failed with status warning and termination condition infeasible or unbounded