## 2030 - TN-H2-G
After successful optimization
Test no. | Year | H2 scen | H2 pipe | H2 demand (TWh) | Freq | Nyears | H2 p_set | Capital cost |  | Efficiency |  | links_t.p0 values
[8 empty] | Electrolysis | H2 pipeline | Electrolysis | H2 pipeline | Electrolysis | H2 pipeline | Assumptions? | Remarks
31 | 2030 | TN-H2-G | short_fnb_2030 | 3.24 | 24 | 0.04 | series | high | low | 0.66 | 1 | yes | none | i) even lower capital cost & higher efficiency for H2 pipeline links, there are no links_t.p0 values for H2 pipelines ii) no requirement to utilize pipeline since operation of each electrolyzer, at each H2 bus/node, to produce and meet H2 demand is sufficient already? Thus zero values for H2 pipeline links_t.p0? | p_nom_opt: Solar
32 | 2030 | TN-H2-G | short_fnb_2030 | 3.24 | 24 | 0.04 | series | 0 | high | 0.66 | 1 | yes | none |  | p_nom_opt: Solar
33 | 2030 | TN-H2-G | short_fnb_2030 | 3.24 | 24 | 0.04 | series | 0 | high | 1 | 1 | yes | none |  | p_nom_opt: Solar, Oil
34 | 2030 | TN-H2-G | short_fnb_2030 | 3.24 | 24 | 0.04 | series | 0 | 0 | 0.66 | 1 | yes | yes (very high) | when H2 pipeline capital cost is zero, then there are values for H2 pipeline links. why? | p_nom_opt: Solar, Oil
35 | 2030 | TN-H2-G | short_fnb_2030 | 3.24 | 24 | 0.04 | series | 0 | 0 | 1 | 1 | yes | yes (very high) |  | p_nom_opt: Solar, Oil
36 | 2030 | TN-H2-G | short_fnb_2030 | 3.24 | 24 | 0.04 | series | high | 0 | 0.66 | 1 | yes | yes (very high) |  | p_nom_opt: Solar
optimization successful

## 2040 - TN-H2-G
After successful optimization
Test no. | Year | H2 scen | H2 pipe | H2 demand (TWh) | Freq | Nyears | H2 p_set | Capital cost |  | Efficiency |  | links_t.p0 values
[8 empty] | Electrolysis | H2 pipeline | Electrolysis | H2 pipeline | Electrolysis | H2 pipeline | Assumptions | Remarks
| 2040 | TN-H2-G | short_fnb_2030 | 28.3 | 24 | 0.04 | series
| 2040 | TN-H2-G | short_fnb_2030 | 28.3 | 24 | 0.04 | series
| 2040 | TN-H2-G | short_fnb_2030 | 28.3 | 24 | 0.04 | series
| 2040 | TN-H2-G | short_fnb_2030 | 28.3 | 24 | 0.04 | series
| 2040 | TN-H2-G | short_fnb_2030 | 28.3 | 24 | 0.04 | series
optimization successful

## 2050 - TN-H2-G
After successful optimization
Test no. | Year | H2 scen | H2 pipe | H2 demand (TWh) | Freq | Nyears | H2 p_set | Capital cost |  | Efficiency |  | links_t.p0 values
[8 empty] | Electrolysis | H2 pipeline | Electrolysis | H2 pipeline | Electrolysis | H2 pipeline | Assumptions | Remarks
| 2050 | TN-H2-G | short_fnb_2030 | 78.59 | 24 | 0.04 | series
| 2050 | TN-H2-G | short_fnb_2030 | 78.59 | 24 | 0.04 | series
| 2050 | TN-H2-G | short_fnb_2030 | 78.59 | 24 | 0.04 | series
| 2050 | TN-H2-G | short_fnb_2030 | 78.59 | 24 | 0.04 | series
| 2050 | TN-H2-G | short_fnb_2030 | 78.59 | 24 | 0.04 | series
optimization successful